## 1st Run
Sample ID | Sample_mg | Result | Units | Absorbance | Time | Manual Dil | Auto Dil | Adj Result | Round
C C V |  | 1.664 | mgP/L | 0.2242 | Wed Jul 03 17:28:48 2024 | 1 | 1 | 1.664 | 1
C C B |  | -0.008 | mgP/L | 0.071162 | Wed Jul 03 17:30:28 2024 | 1 | 1 | -0.008 | 1
7.2 | 1.975 | 0.0728 | mgP/L | 0.078551 | Wed Jul 03 17:32:07 2024 | 3.25 | 1 | 0.2366 | 1
31.1 | 2.027 | 0.1155 | mgP/L | 0.082466 | Wed Jul 03 17:33:46 2024 | 3.25 | 1 | 0.37538 | 1
BLANK |  | -0.0081 | mgP/L | 0.071151 | Wed Jul 03 17:35:26 2024 | 3.25 | 1 | -0.026325 | 1
26.2 | 2.173 | 0.0634 | mgP/L | 0.077699 | Wed Jul 03 17:37:07 2024 | 3.25 | 1 | 0.20605 | 1
5.1 | 1.986 | 0.0508 | mgP/L | 0.076538 | Wed Jul 03 17:38:49 2024 | 3.25 | 1 | 0.1651 | 1
EUC STD 4.1 | 4.1 | 0.1081 | mgP/L | 0.081787 | Wed Jul 03 17:40:28 2024 | 3.25 | 1 | 0.35132 | 1
10.2 | 1.789 | 0.1441 | mgP/L | 0.085081 | Wed Jul 03 17:42:08 2024 | 3.25 | 1 | 0.46832 | 1
26.1 | 1.988 | 0.0587 | mgP/L | 0.077268 | Wed Jul 03 17:43:48 2024 | 3.25 | 1 | 0.19078 | 1
11.1 | 1.988 | 0.081 | mgP/L | 0.079307 | Wed Jul 03 17:45:28 2024 | 3.25 | 1 | 0.26325 | 1
34.1 | 1.99 | 0.0113 | mgP/L | 0.072926 | Wed Jul 03 17:47:08 2024 | 3.25 | 1 | 0.036725 | 1
C C V |  | 1.672 | mgP/L | 0.22494 | Wed Jul 03 17:48:48 2024 | 1 | 1 | 1.672 | 1
C C B |  | -0.0157 | mgP/L | 0.070454 | Wed Jul 03 17:50:28 2024 | 1 | 1 | -0.0157 | 1
8.1 | 1.892 | 2.7013 | mgP/L | 0.31915 | Wed Jul 03 17:52:10 2024 | 3.25 | 1 | 8.7792 | 1
56.1 | 1.973 | 0.0808 | mgP/L | 0.079284 | Wed Jul 03 17:53:51 2024 | 3.25 | 1 | 0.2626 | 1
BLANK |  | 0.11 | mgP/L | 0.081964 | Wed Jul 03 17:55:08 2024 | 3.25 | 1 | 0.3575 | 1
7.1 | 1.824 | -0.0322 | mgP/L | 0.068946 | Wed Jul 03 17:56:24 2024 | 3.25 | 1 | -0.10465 | 1
EUC STD 2.5 | 2.5 | 0.038 | mgP/L | 0.075369 | Wed Jul 03 17:57:40 2024 | 3.25 | 1 | 0.1235 | 1
34.2 | 1.923 | 0.2848 | mgP/L | 0.097956 | Wed Jul 03 17:58:56 2024 | 3.25 | 1 | 0.9256 | 1
49.1 | 1.833 | 0.1201 | mgP/L | 0.082885 | Wed Jul 03 18:00:13 2024 | 3.25 | 1 | 0.39032 | 1
C C V |  | 1.6936 | mgP/L | 0.22691 | Wed Jul 03 18:01:29 2024 | 1 | 1 | 1.6936 | 1
C C B |  | 0.0204 | mgP/L | 0.073757 | Wed Jul 03 18:02:45 2024 | 1 | 1 | 0.0204 | 1
Sample ID | Sample_mg | Result | Units | Absorbance | Time | Manual Dil | Auto Dil | Adj Result
C C V |  | 1.6363 | mgP/L | 0.22167 | Wed Jul 03 16:14:41 2024 | 1 | 1 | 1.6363 | 2
C C B |  | -0.011 | mgP/L | 0.07088 | Wed Jul 03 16:16:20 2024 | 1 | 1 | -0.011 | 2
HFE4 | 1.122 | 0.37 | mgP/L | 0.10575 | Wed Jul 03 16:18:00 2024 | 3 | 1 | 1.11 | 2
12.1 | 0.615 | -0.0704 | mgP/L | 0.065447 | Wed Jul 03 16:19:39 2024 | 2.5 | 1 | -0.176 | 2
HFE2 | 2.156 | 0.1732 | mgP/L | 0.087742 | Wed Jul 03 16:21:19 2024 | 3 | 1 | 0.5196 | 2
2ND BLANK A |  | -0.0169 | mgP/L | 0.070343 | Wed Jul 03 16:23:00 2024 | 3 | 1 | -0.0507 | 2
EUC STD 2.3 | 2.3 | 0.0763 | mgP/L | 0.07888 | Wed Jul 03 16:24:42 2024 | 3 | 1 | 0.2289 | 2
12.2 | 0.785 | -0.0055 | mgP/L | 0.071392 | Wed Jul 03 16:26:21 2024 | 2.5 | 1 | -0.01375 | 2
2ND BLANK B |  | 0.0073 | mgP/L | 0.072559 | Wed Jul 03 16:28:01 2024 | 3 | 1 | 0.0219 | 2
HFE3 | 2.178 | 0.4241 | mgP/L | 0.11071 | Wed Jul 03 16:29:41 2024 | 3 | 1 | 1.2723 | 2
11.2 | 0.5 | 0.0684 | mgP/L | 0.078152 | Wed Jul 03 16:31:22 2024 | 2.5 | 1 | 0.171 | 2
29.1 | 1.571 | -0.1279 | mgP/L | 0.06018 | Wed Jul 03 16:33:03 2024 | 2.5 | 1 | -0.31975 | 2
C C V |  | 1.6194 | mgP/L | 0.22012 | Wed Jul 03 16:34:21 2024 | 1 | 1 | 1.6194 | 2
C C B |  | -0.0091 | mgP/L | 0.071055 | Wed Jul 03 16:35:37 2024 | 1 | 1 | -0.0091 | 2
HFE1 | 2.058 | 0.3444 | mgP/L | 0.10342 | Wed Jul 03 16:36:53 2024 | 3 | 1 | 1.0332 | 2
56.2 | 0.566 | -0.0052 | mgP/L | 0.071416 | Wed Jul 03 16:38:10 2024 | 2 | 1 | -0.0104 | 2
EUC STD 2.1 | 2.1 | 0.2093 | mgP/L | 0.091051 | Wed Jul 03 16:39:26 2024 | 3 | 1 | 0.6279 | 2
C C V |  | 1.6638 | mgP/L | 0.22418 | Wed Jul 03 16:40:42 2024 | 1 | 1 | 1.6638 | 2
C C B |  | -0.004 | mgP/L | 0.071522 | Wed Jul 03 16:41:58 2024 | 1 | 1 | -0.004 | 2

## 2nd Run
Sample ID | Sample_mg | sample_kg | Result_(P_mg/L) | Manual Dil | ADJ RESULT mg/L | Amount_Recovered | Total_volume | Round | Blank_Corrected | Total_Phos mg | Niraj_Method_mg_kg | Sols_P (mg/kg) | % P_ Sols calc | Test | Avg_Blank_Rnd1 | Avg_Blank_Rnd2 | Notes | Percent_Phos | mg/kg P | % P | mean blank reading | Jeffs_mg/kg P (blank corrected) | % P (blank corrected)
5.1 | 1.986 | 1.986e-06 | 0.0271 | 3.25 | 0.088075 | 1.5 | 3 | 1 | 0.12498 | 0.00037493 | 314.1994 | 314.1994 | 0.03142 | 0.03142 | -0.0369 | -0.00685 |  | 0.18878 | 133.0438 | 0.013304 | -0.021875 | 240.4362 | 0.024044
7.1 | 1.824 | 1.824e-06 | 0.0142 | 3.25 | 0.04615 | 1.5 | 3 | 1 | 0.08305 | 0.00024915 | 273.1497 | 273.1497 | 0.027315 | 0.027315 |  |  |  | 0.1366 | 75.9046 | 0.0075905 |  | 192.8351 | 0.019284
7.2 | 1.975 | 1.975e-06 | 0.0505 | 3.25 | 0.16412 | 2 | 3 | 1 | 0.20103 | 0.00060308 | 431.4684 | 431.4684 | 0.043147 | 0.043147 |  |  |  | 0.30535 | 249.3038 | 0.02493 |  | 357.2943 | 0.035729
8.1 | 1.892 | 1.892e-06 | 0.0775 | 3.25 | 0.25188 | 1.5 | 3 | 1 | 0.28878 | 0.00086633 | 589.5349 | 589.5349 | 0.058953 | 0.058953 |  |  |  | 0.45789 | 399.379 | 0.039938 |  | 512.1069 | 0.051211
10.2 | 1.789 | 1.789e-06 | 0.0399 | 3.25 | 0.12968 | 1 | 3 | 1 | 0.16658 | 0.00049973 | 418.5579 | 418.5579 | 0.041856 | 0.041856 |  |  |  | 0.27933 | 217.4539 | 0.021745 |  | 336.672 | 0.033667
11.1 | 1.988 | 1.988e-06 | -0.0043 | 3.25 | -0.013975 | 2 | 3 | 1 | 0.022925 | 6.8775e-05 | 159.8843 | 159.8843 | 0.015988 | 0.015988 |  |  |  | 0.034595 | -21.089 | -0.0021089 |  | 86.1953 | 0.0086195
26.1 | 1.988 | 1.988e-06 | 0.0493 | 3.1 | 0.15283 | 2 | 3.1 | 1 | 0.18973 | 0.00058816 | 416.6911 | 416.6911 | 0.041669 | 0.041669 |  |  |  | 0.29586 | 238.3164 | 0.023832 |  | 344.0602 | 0.034406
26.2 | 2.173 | 2.173e-06 | 0.0673 | 3.25 | 0.21873 | 1.8 | 3 | 1 | 0.25562 | 0.00076687 | 467.5334 | 467.5334 | 0.046753 | 0.046753 |  |  |  | 0.35291 | 301.9673 | 0.030197 |  | 400.1179 | 0.040012
31.1 | 2.027 | 2.027e-06 | 0.1175 | 3.25 | 0.38188 | 1.8 | 3 | 1 | 0.41878 | 0.0012563 | 742.6739 | 742.6739 | 0.074267 | 0.074267 |  |  |  | 0.6198 | 565.1825 | 0.056518 |  | 670.4027 | 0.06704
31.2 | 2.072 | 2.072e-06 | 0.1237 | 3.25 | 0.40203 | 1.8 | 3 | 1 | 0.43893 | 0.0013168 | 755.7191 | 755.7191 | 0.075572 | 0.075572 |  |  | potential material left in tube post digestion | 0.63551 | 582.0825 | 0.058208 |  | 685.0175 | 0.068502
34.1 | 1.99 | 1.99e-06 | 0.0334 | 3.25 | 0.10855 | 2 | 3 | 1 | 0.14545 | 0.00043635 | 344.4347 | 344.4347 | 0.034443 | 0.034443 |  |  |  | 0.21927 | 163.6432 | 0.016364 |  | 270.8197 | 0.027082
34.2 | 1.923 | 1.923e-06 | 0.1029 | 3.25 | 0.33442 | 1.7 | 3 | 1 | 0.37132 | 0.001114 | 708.8144 | 708.8144 | 0.070881 | 0.070881 |  |  |  | 0.57929 | 521.7239 | 0.052172 |  | 632.6346 | 0.063263
49.1 | 1.833 | 1.833e-06 | 0.0437 | 3.1 | 0.13547 | 2 | 3 | 1 | 0.17237 | 0.00051711 | 408.9362 | 408.9362 | 0.040894 | 0.040894 |  |  |  | 0.28211 | 221.7185 | 0.022172 |  | 332.7046 | 0.03327
56.1 | 1.973 | 1.973e-06 | 0.0653 | 3.25 | 0.21222 | 1.5 | 3 | 1 | 0.24912 | 0.00074737 | 505.0431 | 505.0431 | 0.050504 | 0.050504 |  |  |  | 0.3788 | 322.6939 | 0.032269 |  | 430.7938 | 0.043079
BLANK | 1e-13 | 1e-19 | -0.0492 | 3.25 | -0.1599 |  | 3 | 1 | -0.123 | -0.000369 | -1199250000000000 | -1199250000000000 | -119925000000 | -119925000000 |  |  |  | -3.69e+12 | -4797000000000000 | -479700000000 |  | -2664187500000000
BLANK | 1e-13 | 1e-19 | -0.0246 | 3.25 | -0.07995 |  | 3 | 1 | -0.04305 | -0.00012915 | 1.1993e+15 | 1199250000000000 | 119925000000 | 119925000000 |  |  |  | -1.2915e+12 | -2398500000000000 | -239850000000 |  | -2.6569e+14
EUC STD 2.5 | 2.5 | 2.5e-06 | 0.2562 | 3.25 | 0.83265 | 0.8 | 3 | 1 | 0.86955 | 0.0026087 | 1143.09 | 1143.09 | 0.11431 | 0.11431 |  |  |  | 1.0435 | 999.18 | 0.099918 |  | 1084.4925 | 0.10845
EUC STD 4.1 | 4.1 | 4.1e-06 | 0.1387 | 3.25 | 0.45077 | 0.5 | 3 | 1 | 0.48767 | 0.001463 | 417.5854 | 417.5854 | 0.041759 | 0.041759 |  |  |  | 0.35684 | 329.8354 | 0.032984 |  | 381.8552 | 0.038186
11.2 | 0.5 | 5e-07 | -0.0002 | 2.4 | -0.00048 | 0.8 | 2.5 | 2 | 0.00637 | 1.5925e-05 | 79.8 | 79.8 | 0.00798 | 0.00798 |  |  |  | 0.03185 | -2.4 | -0.00024 |  | 260.1 | 0.02601
12.1 | 0.615 | 6.15e-07 | -0.0804 | 2.4 | -0.19296 | 0.8 | 2.5 | 2 | -0.18611 | -0.00046528 | -717.561 | -717.561 | -0.071756 | -0.071756 |  |  |  | -0.75654 | -784.3902 | -0.078439 |  | -570.9756 | -0.057098
12.2 | 0.785 | 7.85e-07 | 0.0024 | 2.4 | 0.00576 | 1.2 | 2.5 | 2 | 0.01261 | 3.1525e-05 | 70.7006 | 70.7006 | 0.0070701 | 0.0070701 |  |  |  | 0.040159 | 18.3439 | 0.0018344 |  | 185.5414 | 0.018554
29.1 | 0.617 | 6.17e-07 | -0.1457 | 2.4 | -0.34968 | 0.8 | 2.5 | 2 | -0.34283 | -0.00085707 | -1350.2431 | -1350.2431 | -0.13502 | -0.13502 |  |  |  | -1.3891 | -1416.8558 | -0.14169 |  | -1204.1329 | -0.12041
56.2 | 1.093 | 1.093e-06 | -0.0128 | 3.25 | -0.0416 | 1.2 | 3 | 2 | -0.03475 | -0.00010425 | -53.0764 | -53.0764 | -0.0053076 | -0.0053076 |  |  |  | -0.09538 | -114.1812 | -0.011418 |  | 80.9527 | 0.0080953
2ND BLANK A | 1e-13 | 1e-19 | -0.0021 | 3 | -0.0063 |  | 3 | 2 | 0.00055 | 1.65e-06 | 4.275e+14 | 4.275e+14 | 42750000000 | 42750000000 |  |  |  | 16500000000 | -189000000000000 | -18900000000 |  | 1779750000000000
2ND BLANK B | 1e-15 | 1e-21 | -0.0116 | 3 | -0.0348 |  | 3 | 2 | -0.02795 | -8.385e-05 | -42749999999999992 | -42749999999999992 | -4.275e+12 | -4.275e+12 |  |  |  | -83850000000000 | -1.044e+17 | -1.044e+13 |  | 92475000000000016
EUC STD 2.1 | 2.1 | 2.1e-06 | 0.238 | 3 | 0.714 | 1.2 | 3 | 2 | 0.72085 | 0.0021626 | 1049.3571 | 1049.3571 | 0.10494 | 0.10494 |  |  |  | 1.0298 | 1020 | 0.102 |  | 1113.75 | 0.11137
EUC STD 2.3 | 2.3 | 2.3e-06 | 0.0905 | 3 | 0.2715 | 1.2 | 3 | 2 | 0.27835 | 0.00083505 | 380.9348 | 380.9348 | 0.038093 | 0.038093 |  |  | potenially maybe might have knocked the tube over a bit, but not sure how mch I lost | 0.36307 | 354.1304 | 0.035413 |  | 439.7283 | 0.043973
HFE1 | 2.058 | 2.058e-06 | 0.3198 | 3 | 0.9594 | 1.2 | 3 | 2 | 0.96625 | 0.0028988 | 1428.4985 | 1428.4985 | 0.14285 | 0.14285 |  |  |  | 1.4085 | 1398.5423 | 0.13985 |  | 1494.2055 | 0.14942
HFE2 | 2.156 | 2.156e-06 | 0.3477 | 3 | 1.0431 | 1.2 | 3 | 2 | 1.0499 | 0.0031499 | 1480.0325 | 1480.0325 | 0.148 | 0.148 |  |  |  | 1.461 | 1451.4378 | 0.14514 |  | 1542.7528 | 0.15428
HFE3 | 2.178 | 2.178e-06 | 0.3928 | 3 | 1.1784 | 1.2 | 3 | 2 | 1.1852 | 0.0035557 | 1651.4463 | 1651.4463 | 0.16514 | 0.16514 |  |  |  | 1.6326 | 1623.1405 | 0.16231 |  | 1713.5331 | 0.17135
HFE4 | 1.122 | 1.122e-06 | 0.1828 | 3 | 0.5484 | 1.2 | 3 | 2 | 0.55525 | 0.0016658 | 1521.2567 | 1521.2567 | 0.15213 | 0.15213 |  |  |  | 1.4846 | 1466.3102 | 0.14663 |  | 1641.7781 | 0.16418
STANDARD 0 |  |  | 0.0686 | 1 | 0.0686
STANDARD 1 |  |  | 0.0714 | 1 | 0.0714
STANDARD 90 |  |  | 0.0762 | 1 | 0.0762
STANDARD 91 |  |  | 0.0882 | 1 | 0.0882
STANDARD 92 |  |  | 0.1022 | 1 | 0.1022
STANDARD 93 |  |  | 0.1497 | 1 | 0.1497
STANDARD 94 |  |  | 0.2244 | 1 | 0.2244
STANDARD 95 |  |  | 0.3675 | 1 | 0.3675
C C B |  |  | -0.023 | 1 | -0.023
C C B |  |  | -0.0168 | 1 | -0.0168
C C B |  |  | -0.0205 | 1 | -0.0205
C C B |  |  | -0.019 | 1 | -0.019
C C B |  |  | -0.0273 | 1 | -0.0273
C C V |  |  | 1.5955 | 1 | 1.5955
C C V |  |  | 1.6172 | 1 | 1.6172
C C V |  |  | 1.6404 | 1 | 1.6404
C C V |  |  | 1.6481 | 1 | 1.6481
C C V |  |  | 1.6048 | 1 | 1.6048
MID STD |  |  | 1.6051 | 1 | 1.6051
euc | 2.2 |  | 0.2593 | 3 |  |  | 3
blank |  |  | 0.0906 | 3 |  |  | 3
euc | 2.1 |  | 0.2488 | 3 |  |  | 3
blank | 0 |  | 0.0981 | 3 |  |  | 3

## Sample digestion info
1st Round | I used 1mL HNO3 and 1mL H2O2 (30%) *except for Euc Stan I used 1mL HNO3 and .5 mL H202
2nd Round | Euc Stan I used .9mL HNO3 and .3 mL H202
Hyphae .8 mg samples I used .6mL HNO3 and .2mL H202
Hyphae 2mg samples I used .9mL HNO3 and .4mL H2O2