## Calculation
Sample ID | Sample_mg | Round | Acid used (ml) | Peroxide used (ml) | Expected recovery_after digestion (ml) | Amount_Recovered_from small digestion vials | Total_volume_ of acid and H2O2 after 1st dilution with water | Acidity in 3ml diluted digest (%) | Acidity to achieve (%) | Dilution required_for 7% acidity_Kazi | Manual Dillution_done after digestion_for 7% acidity_Sandy | Actual acidity obtained | AQ2_P_Result (mg/L) | Total P (mg/g) | Total P (mg/kg) | % Total P |  | Notes
5.1 | 1.986 | 1 | 1 | 1 | 2 | 1.9 | 3 | 23.3333 | 7 | 3.3333 | 3.25 | 7.1795 | 0.0271 | 0.13304 | 133.0438 | 0.013304 | potentially produce faluty result
7.1 | 1.824 | 1 | 1 | 1 | 2 | 1.5 | 3 | 23.3333 | 7 | 3.3333 | 3.25 | 7.1795 | 0.0142 | 0.075905 | 75.9046 | 0.0075905 | Faulty result
7.2 | 1.975 | 1 | 1 | 1 | 2 | 2 | 3 | 23.3333 | 7 | 3.3333 | 3.25 | 7.1795 | 0.0505 | 0.2493 | 249.3038 | 0.02493
8.1 | 1.892 | 1 | 1 | 1 | 2 | 1.5 | 3 | 23.3333 | 7 | 3.3333 | 3.25 | 7.1795 | 0.0775 | 0.39938 | 399.379 | 0.039938
10.2 | 1.789 | 1 | 1 | 1 | 2 | 1 | 3 | 23.3333 | 7 | 3.3333 | 3.25 | 7.1795 | 0.0399 | 0.21745 | 217.4539 | 0.021745
11.1 | 1.988 | 1 | 1 | 1 | 2 | 2 | 3 | 23.3333 | 7 | 3.3333 | 3.25 | 7.1795 | -0.0043 | -0.021089 | -21.089 | -0.0021089
26.1 | 1.988 | 1 | 1 | 1 | 2 | 2 | 3.1 | 22.5806 | 7 | 3.2258 | 3.1 | 7.2841 | 0.0493 | 0.23832 | 238.3164 | 0.023832
26.2 | 2.173 | 1 | 1 | 1 | 2 | 1.8 | 3 | 23.3333 | 7 | 3.3333 | 3.25 | 7.1795 | 0.0673 | 0.30197 | 301.9673 | 0.030197
31.1 | 2.027 | 1 | 1 | 1 | 2 | 1.8 | 3 | 23.3333 | 7 | 3.3333 | 3.25 | 7.1795 | 0.1175 | 0.56518 | 565.1825 | 0.056518
31.2 | 2.072 | 1 | 1 | 1 | 2 | 1.8 | 3 | 23.3333 | 7 | 3.3333 | 3.25 | 7.1795 | 0.1237 | 0.58208 | 582.0825 | 0.058208 |  | potential material left in tube post digestion
34.1 | 1.99 | 1 | 1 | 1 | 2 | 2 | 3 | 23.3333 | 7 | 3.3333 | 3.25 | 7.1795 | 0.0334 | 0.16364 | 163.6432 | 0.016364
34.2 | 1.923 | 1 | 1 | 1 | 2 | 1.7 | 3 | 23.3333 | 7 | 3.3333 | 3.25 | 7.1795 | 0.1029 | 0.52172 | 521.7239 | 0.052172
49.1 | 1.833 | 1 | 1 | 1 | 2 | 2 | 3 | 23.3333 | 7 | 3.3333 | 3.1 | 7.5269 | 0.0437 | 0.22172 | 221.7185 | 0.022172
56.1 | 1.973 | 1 | 1 | 1 | 2 | 1.5 | 3 | 23.3333 | 7 | 3.3333 | 3.25 | 7.1795 | 0.0653 | 0.32269 | 322.6939 | 0.032269
BLANK | 1e-13 | 1 | 1 | 1 | 2 |  | 3 | 23.3333 | 7 | 3.3333 | 3.25 | 7.1795 | -0.0492 | -4797000000000 | -4797000000000000 | -479700000000
BLANK | 1e-13 | 1 | 1 | 1 | 2 |  | 3 | 23.3333 | 7 | 3.3333 | 3.25 | 7.1795 | -0.0246 | -2398500000000 | -2398500000000000 | -239850000000
EUC STD 2.5 | 2.5 | 1 | 1 | 0.5 | 1.5 | 0.8 | 3 | 23.3333 | 7 | 3.3333 | 3.25 | 7.1795 | 0.2562 | 0.99918 | 999.18 | 0.099918
EUC STD 4.1 | 4.1 | 1 | 1 | 0.5 | 1.5 | 0.5 | 3 | 23.3333 | 7 | 3.3333 | 3.25 | 7.1795 | 0.1387 | 0.32984 | 329.8354 | 0.032984
11.2 | 0.5 | 2 | 0.6 | 0.2 | 0.8 | 0.8 | 2.5 | 16.8 | 7 | 2.4 | 2.4 | 7 | -0.0002 | -0.0024 | -2.4 | -0.00024
12.1 | 0.615 | 2 | 0.6 | 0.2 | 0.8 | 0.8 | 2.5 | 16.8 | 7 | 2.4 | 2.4 | 7 | -0.0804 | -0.78439 | -784.3902 | -0.078439
12.2 | 0.785 | 2 | 0.9 | 0.4 | 1.3 | 1.2 | 2.5 | 25.2 | 7 | 3.6 | 2.4 | 10.5 | 0.0024 | 0.018344 | 18.3439 | 0.0018344
29.1 | 0.617 | 2 | 0.6 | 0.2 | 0.8 | 0.8 | 2.5 | 16.8 | 7 | 2.4 | 2.4 | 7 | -0.1457 | -1.4169 | -1416.8558 | -0.14169
56.2 | 1.093 | 2 | 0.9 | 0.4 | 1.3 | 1.2 | 3 | 21 | 7 | 3 | 3.25 | 6.4615 | -0.0128 | -0.11418 | -114.1812 | -0.011418
2ND BLANK A | 1e-13 | 2 | 0.9 | 0.4 | 1.3 |  | 3 | 21 | 7 | 3 | 3 | 7 | -0.0021 | -189000000000 | -189000000000000 | -18900000000
2ND BLANK B | 1e-15 | 2 | 0.9 | 0.4 | 1.3 |  | 3 | 21 | 7 | 3 | 3 | 7 | -0.0116 | -1.044e+14 | -1.044e+17 | -1.044e+13
EUC STD 2.1 | 2.1 | 2 | 0.9 | 0.3 | 1.2 | 1.2 | 3 | 21 | 7 | 3 | 3 | 7 | 0.238 | 1.02 | 1020 | 0.102
EUC STD 2.3 | 2.3 | 2 | 0.9 | 0.3 | 1.2 | 1.2 | 3 | 21 | 7 | 3 | 3 | 7 | 0.0905 | 0.35413 | 354.1304 | 0.035413 |  | potenially maybe might have knocked the tube over a bit, but not sure how mch I lost
HFE1 | 2.058 | 2 | 0.9 | 0.4 | 1.3 | 1.2 | 3 | 21 | 7 | 3 | 3 | 7 | 0.3198 | 1.3985 | 1398.5423 | 0.13985
HFE2 | 2.156 | 2 | 0.9 | 0.4 | 1.3 | 1.2 | 3 | 21 | 7 | 3 | 3 | 7 | 0.3477 | 1.4514 | 1451.4378 | 0.14514
HFE3 | 2.178 | 2 | 0.9 | 0.4 | 1.3 | 1.2 | 3 | 21 | 7 | 3 | 3 | 7 | 0.3928 | 1.6231 | 1623.1405 | 0.16231
HFE4 | 1.122 | 2 | 0.9 | 0.4 | 1.3 | 1.2 | 3 | 21 | 7 | 3 | 3 | 7 | 0.1828 | 1.4663 | 1466.3102 | 0.14663

## Digestion info
1st Round | I used 1mL HNO3 and 1mL H2O2 (30%) *except for Euc Stan I used 1mL HNO3 and .5 mL H202
2nd Round | Euc Stan I used .9mL HNO3 and .3 mL H202
Hyphae .8 mg samples I used .6mL HNO3 and .2mL H202
Hyphae 2mg samples I used .9mL HNO3 and .4mL H2O2